## Slide 1
MICROSCOPE PARTS

## Slide 2: LEARNING OBJECTIVES
By the end of the class:
Students will be able to describe the parts of a microscope
Students will be able to describe and adjust magnification on the microscope
Students will be able to describe safety procedure for using the microscope and preparing slides
Students will be able to prepare a cell for use with a microscope - plant and cheek cell

## Slide 3
CONCEPTS EXPLORED IN THIS LESSON
eyepiece
body tube
arm
base
light source/illuminator
revolving/rotating eyepiece
objective lenses
coarse adjustment knob
fine adjustment knob
stage
stage clips
condenser lens
diaphragm

## Slide 4
Do you know some of these parts?
Label as many parts as you can using the terms provided.
ocular lens / eyepiece
objective lenses
body tube
base
coarse adjustment knob
fine adjustment knob
stage
stage clips
diaphragm
arm
revolving nosepiece
light source / illuminator
condenser
A
G
F
E
D
C
B
K
H
J
I
M
L
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 5
A
G
F
E
D
C
B
K
H
J
I
M
L
eyepiece
objective lenses
body tube
base
coarse adjustment knob
fine adjustment knob
stage
stage clips
diaphragm
arm
revolving/rotating nosepiece
light source/
illuminator
condenser
PARTS OF THE COMPOUND LIGHT MICROSCOPE
Did your labels look something like this?

## Slide 6
A
Eyepiece
Contains a lens to _______ the image of the specimen.
The usual magnification is ___ X.
magnify
10
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 7
to correctly _____ the light from the specimen into the viewer’s eye.
Body Tube
It ________ the eyepiece to the objective lenses.
connects
B
It ensures the correct ________ of the microscope components
alignment
direct
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 8
One ____ should be around the arm when _______ the microscope
It ________ the body tube to the base.
connects
hand
C
carrying
Arm
(the other should be under the ____).
base
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 9
(the other hand should be holding the arm).
It contains the _________ and __________.
It ________ the weight of the microscope.
One hand should be _____ the base while _______ the microscope
Base
supports
electronics
carrying
light source
D
under
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 10
and through the ____ in the stage
onto the ________ on the slide.
Light Source / Illuminator
It sends light _______ through the _____________
Older microscopes used to use ______ to ______ the ambient light upwards.
hole
specimen
condenser lens
mirrors
upwards
E
mirror
reflect
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 11
Objective Lenses
These lenses further _______ the image of the specimen.
G
magnify
Low (scanning)
Medium
High
The magnifications are usually ___ , ____ and ____ .
4 X
10 X
40 X
4 X
10 X
40 X
There are usually __ lenses
3
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 12
The ____ knob you should use, and always under ___ power.
Never use it in ____ power.
Coarse Adjustment Knob
low
first
H
high
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 13
The ____ knob you should use, and always under ___ power.
Never use it in ____ power.
to help put the specimen in _____.
H
I
Both knobs move the _____ up and down
focus
The ______ knob you should use under ______ power
second
higher
stage
Fine Adjustment Knob
low
first
high
exact
for _____ focusing.
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 14
Stage
J
The stage is where you place the ____ which contains the ________.
slide
specimen
It contains a ____ that allows ____ to pass through the stage and onto the specimen.
hole
light
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 15
The lens under the stage that ___________ from the illuminator through to the ____ in the stage.
focuses light
Condenser Lens
L
hole
PARTS OF THE COMPOUND LIGHT MICROSCOPE

## Slide 17: What you Should See

## Slide 18
The End!